1.5” NIPPLE
(1.5” BLACK STEEL NIPPLE)

Wilson & Cousins, 1.5" NIPPLE, 1.5" black steel nipple with NPT on both sides. The 1.5" NIPPLE is used to secure a swing rack, fire hose and valve to a hose rack assembly, i.e., IE141 RED LEXAN