ABC 025V
(2-1/2 LBS ABC EXTINGUISHER W/ VEHICLE BRACKET)

Wilson & Cousins, ABC 025V, 2-1/2 lbs (1.2 kgs) multi-purpose pressurized dry chemical fire extinguisher with a ULC rating of 1A:10BC.