CO2-15H
(15 LBS CO2 EXTINGUISHER W/ WALL HANGAR)

Wilson & Cousins, CO2-15H, 15 lbs (6.8 kg) CO2 pressurized fire extinguisher with a ULC rating of 10BC.