FEC 05R
(8.5" (216mm) x 19.9" (506mm) x 6.3" (160mm), inside dimensions, recessed mounted extinguisher cabinet comes with a key)

Wilson & Cousins, FEC 05R, 8.5" x 19.9" x 6.3" (216mm x 506mm x 160mm), inside dimensions, recessed mounted extinguisher cabinet constructed of 22 gauge steel. Cabinet is featured with quality cylinder lock, glossy white powder-coated enamel finish for corrosion protection and scored glass.