FEC 20
(12.1"(308) X 31.1"(791) X 8.9"(214) Surface mount extinguisher cabinet comes with a key & scored plex)

Wilson & Cousins, FEC 20, surface mount extinguisher cabinet constructed of 22 gauge steel. Cabinet is featured with quality cylinder lock, glossy white powder-coated enamel finish for corrosion protection and scored plexi-glass.