HF-45EBM
(2.5" Red quick plug (cast) with eye bolts)

Wilson & Cousins, HF-45EBM, is a 2.5" (65mm) redcast quick plug with eye bolts and nuts.