HF 57S CP
(2 1/2" Male NPT x 2 1/2" Female Hose Thread Swivel Chrome Connection)

Wilson & Cousins, HF57S CP, 2.5" (65 mm) F swivel regional hose thread x 2.5" (65 mm) M NPT brass, chrome finishhexagonal adapter to change configuration of threads.