HF40 CP
(2 1/2" Hose Thread Swivel Polish Chrome)

Wilson & Cousins, HF40 CP, 2.5" (65 mm) regional hose thread cast brass, polish finish chrome swivel for open snoot and swivel bases and exposed fire department connections.