HF58-D BR CAST
(2 1/2" Cast Brass Double Swivel Snoot and Swivel)

Wilson & Cousins, HF58-D BR CAST, 2.5" (65mm) Fregional hose thread swivelx 2.5" (65mm) F regional hose threadswivel cast brass, double swivel snoot & swivel with pin lug.