HN1.5
(1.5" Brass straight-stream nozzle)

Wilson & Cousins, HN1.5, Brass Straight Stream Nozzle for 1-1/2" Hose.  The brass nozzle will deliver water at a higher GPM and over a greater distance in a concentrated stream with a 1/2" orifice.