HN150D
(1 1/2" Ductile Iron, Straight Stream Nozzle)

Wilson & Cousins, HN150D, 1.5" (38mm) ductile iron, straight stream nozzle with a silver painted finish.  The nozzle will deliver water at a higher GPM and over a greater distance in a concentrated stream with a 3/4" orifice.