HN1LR
(1.0" Red Plastic combination fog nozzle)

Wilson & Cousins, HN1LR, 1.0" (25mm) red lexan (plastic) combination, straight stream and fog nozzle with bumper.  The nozzle will have a rated operation pressure up to 100 psi.