HN4LCP
(1.5" Chrome Plated Plastic combination fog nozzle)

Wilson & Cousins, HN4LCP, 1.5" (38mm) chrome, plastic combination, straight stream and fog nozzle with bumper. The nozzle has a rated operation pressure up to 100 psi.  The nozzle is FM Approved.