HR100-S1
(Hump Rack for 100' of Synthetic Lined or 50' of Single Jacket 1-1/2" Hose)

Wilson and Cousins model HR100-S1, hump type hose rack made of cold rolled carbon steel with a red enamel finish capable of holding up to 100’ of synthetic lined or 50’ of single jacked, 1 1/2" hose. Comes with open sides allowing for faster drying to prevent mold and mildew.