IE 141 2.5 RED
(Long red swing rack w/ integrated water stop for 2.5 In. nipple. Carries up to 100 ft. of rack hose)

Wilson & Cousins, IE141 2.5 RED, is a UL/ULC Listed and FM Approved, long red swinging hose rack that is constructed with an integrated water stop and nozzle clip. It can carry up to 100 feet of standard rack hose and meets Class II and/or Class III Service requirements.