IE 44
(1/2" Automatic Brass Ball Drip Valve)

Wilson & Cousins, IE44, 0.5" (12mm) cast brass straight automatic ball drip valve used to drain low point of system between check valve and Fire Department Connection.