IE 75 RED
(Red long swing rack for 75 ft. of rack hose and comes with water stop)

Wilson & Cousins, IE 75 RED, is a UL/ULC Listed and FM Approved, long red swinging hose rack that is constructed with an integrated water stop and nozzle clip. It can carry up to 75 feet of standard rack hose and meets Class II and/or Class III Service requirements.