IE100R-SS
(9"(229) X 24"(609) X 5"(125) Recessed style extinguisher cabinet with stainless door and primer tub.)

Wilson & Cousins, IE100R-SS, is a recessed 9"x24"x5" (229mm x 600mm x 125mm) type extinguisher cabinet constructed of 14 gauge #4 satin stainless steel door and frame and 16 gauge Cold Rolled Steel deep prime coat painted steel tub. Cabinet has a full length piano hinge, stainless steel concealed latch and 3/16" (5mm) clear glass.