IE11CVR-SS
(14"(356) X 42"(1050) X 8"(203) Recessed style extinguisher and valve cabinet with SS door)

Wilson & Cousins, IE11CVR-SS, is a recessed 14"x42"x8" (356mm x 1050mm x 203mm) type extinguisher and valve cabinet constructed of 14 gauge #4 satin stainless steel door and frame and 16 gauge Cold Rolled Steel deep prime coat painted steel tub. Cabinet has a full length piano hinge, stainless steel concealed latch and 3/16" (5mm) clear glass.