IE141 RED LEXAN
(IE141 Red Swing Rack Package - 1.5" x 100' Rack Hose w/ Brass Couplings and Lexan Nozzle)

Wilson & Cousins, IE141 RED LEXAN, red swing rack package that comes with the following:

•	Semi-automatic red swing rack with water stop
•	100’ (30.5m) Wilco500 Single Jacket Rack Hose
•	Forged brass couplings
•	1.5” (38mm) red lexan, adjustable straight-stream fog nozzle
•	UL/ULC Listed and FM Approved