IE1BR-SOSS
(30"(762) X 30"(762) X 8"(203) Recessed style hose cabinet with SOSS hinges)

Wilson & Cousins, IE1BR-SOSS, is a recessed 30"x30"x8" (762mm x 762mm x 203mm) type hose cabinet constructed of 16 gauge Cold Rolled Steel that comes with valve knockouts. The interior and exterior of the cabinet is treated for corrosion resistance by an electrostatically applied oven-baked primer finish. The door and frame are fitted with a full length 180 degree opening concealed SOSS hinge, stainless steel concealed latch and 3/16" (5mm) clear glass.