IE1BS-SOLID
(30"(762) X 30"(762) X 8"(203) Surface style hose cabinet with a full metal door.)

Wilson & Cousins, IE1BS-SOLID, is a surface 30"x30"x8" (762mm x 762mm x 203mm) type hose cabinet constructed of 16 gauge Cold Rolled Steel that comes with valve knockouts. The interior and exterior of the cabinet is treated for corrosion resistance by an electrostatically applied oven-baked primer finish. The full metal door and frame are fitted with a full length 180 degree opening semi-concealed piano hinge and stainless-steel concealed latch.