IE24
(2.5" F NPT x 2.5" M Hose thread, brass inline valve)

Wilson & Cousins, IE24, 2.5" (65mm) F NPT x 2.5" (65mm) M hose thread, cast brass, inline (straight) body standpipe hose valve.  The inline (straight) body design is 300 psi rated.