IE33S PAC BRASS
(4"x2.5"X2.5" Brass straight body exposed fire department connection with brass accessories)

Wilson & Cousins, IE33S PAC BRASS, 4" (100mm) NPT x 2.5" (65mm) hose thread x 2.5" (65mm) hose thread cast brass exposed straight body fire department connection with brass accessories. Each 2.5" (65mm) inlet can supply up to 250 GPM and to suit type of threads on those used by local fire department. UL /ULC Listed and FM Approved. The fire department connection comes with two plugs and chains and signage having letters at least 1" (25mm) in size, cast on plate or cast on fitting.