IE75 CP LEXAN
(IE75 Chrome Swing Rack - 1.5" x 75' Rack Hose w/ Chromed Couplings and Lexan Nozzle)

Wilson & Cousins, IE75 CP LEXAN, chrome swing rack package that comes with the following:

•	Semi-automatic chrome swing rack with water stop
•	75’ (23m) Wilco500 Single Jacket Rack Hose
•	Chrome plated forged brass couplings
•	1.5” (38mm) chrome plated, lexan, adjustable straight-stream fog nozzle
•	UL/ULC Listed and FM Approved