IESR100
(24 Pin Stationary Hose Rack)

Wilson and Cousins model IESR100, 24 Pin Stationary Pin rack -capacity 100’ (30 meters) x 1 1/2" (38mm) synthetic rack hose.  The stationary rack meets Class II and/or Class III Service requirements.