PDC 10G 
(10 LBS STANDARD EXTINGUISHER W/ WALL HANGAR)

Wilson & Cousins, PDC 10G, 10lbs (4.54 kgs) Standard pressurized dry chemical fire extinguisher with a ULC rating of 60BC.