W&C HH-1
(Taraton Type Hose Hanger)

Wilson and Cousins Model W&C HH-1, made of cast Aluminum to accommodate up to 100’ of rack or single jacket hose. The upper hanger is to be spring loaded allowing for either water pressure or a single pull to release the hose.