IE1BS-1010

(FIRE HOSE STORAGE CABINET)

Wilson & Cousins, IE1BS-1010, 58" (1473mm) wide x 42" (1067mm) high x 15" (380mm) deep fire hose storage cabinet in a red enamel finish with or without legs. Cabinet is constructed of cold-rolled steel and has a sloped top, louvers on both sides and centre-opening doors.