IE28S-B
(1.5" Brass single inlet connection for residential systems)

Wilson & Cousins, IE28S-B, 1.5" (38mm) cast brass single inlet connection for residential systems to supplement the fire protection water supply. Connection is equipped with a cast brass escutcheon plate, 1.5" female swivel hose thread inlet with pin lugs, 1.5" female rigid NPT outlet and 1.5" hose thread plug and chain with pin lugs.