IE11CVR31
(14"(356) X 31"(787) X 8"(203) Recessed style extinguisher and valve cabinet)

Wilson & Cousins, IE11CVR31, is a recessed 14"x31"x8" (356mm x 787mm x 203mm) type extinguisher and valve cabinet constructed of 16 gauge Cold Rolled Steel. The entire cabinet has a deep prime coat paint and the front section is to have a full length piano hinge, stainless steel concealed latch and 3/16" (5mm) clear glass.