IE11CVR38
(14"(356) X 38"(965) X 8"(203) Recessed style extinguisher and valve cabinet)

Wilson & Cousins, IE11CVR38, is a recessed 14"x38"x8" (356mm x 965mm x 203mm) type extinguisher and valve cabinet constructed of 16 gauge Cold Rolled Steel. The entire cabinet has a deep prime coat paint and the front section is to have a full length piano hinge, stainless steel concealed latch and 3/16" (5mm) clear glass.